## OTP DER Queue - June 2026
Queue Number | Date Application Deemed Complete | Interconnection Process Track | System Size (kW AC) | DER Type | Substation | Feeder | Application Status | June 2026
D25-16 | 2025-07-30 | Fast Track | 4200 | Solar | 7197 | R15 | Facilities Study
D25-18 | 2025-07-31 | Fast Track | 3850 | Solar | 620232 | R75 | Facilities Study
D25-38 | 2025-10-07 | Fast Track | 36 | Solar + Storage | 7203 | R275 | Metering/ Witness Testing/ Commissioning
D25-40 | 2025-10-27 | Fast Track | 40 | Solar | 620177 | R2 | Design and Construction
D25-41 | 2025-10-30 | Fast Track | 36 | Solar | 620232 | R25 | Permission To Operate
D25-42 | 2025-11-03 | Fast Track | 40 | Solar | 7171 | R2 | Design and Construction
D25-43 | 2025-11-03 | Fast Track | 40 | Soalr | 7178 | R1 | Design and Construction
D26-01 | 2026-01-12 | Fast Track | 29.3 | Solar | 7188 | R3 | Design and Construction
D26-02 | 2026-01-15 | Fast Track | 21.38 | Solar | 7445 | R1 | Design and Construction
D26-03 | 2026-01-15 | Simplified | 17.28 | Solar | 7445 | R1 | Design and Construction
D26-04 | 2026-01-13 | Fast Track | 39.71 | Solar | 7910 | R15 | Design and Construction
D26-05 | 2026-01-26 | Simplified | 19.95 | Solar | 7925 | R15 | Design and Construction
D26-06 | 2026-01-26 | Fast Track | 39.28 | Solar | 7928 | R15 | Design and Construction
D26-07 | 2026-02-02 | Fast Track | 40 | Solar | 7452 | R2 | Permission To Operate
D26-08 | 2026-02-03 | Fast Track | 20.52 | Solar | 7998 | R1 | Design and Construction
D26-09 | 2026-02-03 | Fast Track | 40 | Solar | 7452 | R1 | Permission To Operate
D26-10 | 2026-02-03 | Fast Track | 40 | Solar | 7452 | R2 | Permission To Operate
D26-11 | 2026-02-05 | Fast Track | 24 | Solar + Storage | 7212 | R1 | Design and Construction
D26-12 | 2026-02-06 | Fast Track | 39.28 | Solar | 8540 | R15 | Design and Construction
D26-13 | 2026-02-05 | Simplified | 20 | Solar | 7480 | R1 | Design and Construction
D26-14 | 2026-02-05 | Fast Track | 36 | Solar + Storage | 7168 | R2 | Design and Construction
D26-15 | 2026-02-19 | Fast Track | 40 | Solar | 7477 | R2 | Design and Construction
D26-16 | 2026-02-19 | Fast Track | 40 | Solar | 7477 | R2 | Design and Construction
D26-17 | 2026-02-23 | Fast Track | 36 | Solar + Storage | 7181 | R1 | Facility Upgrade Underway
D26-18 | 2026-02-23 | Fast Track | 30 | Solar | 620248 | R1 | Design and Construction
D26-19 | 2026-02-26 | Fast Track | 30 | Solar | 620248 | R2 | Design and Construction
D26-20 | 2026-03-10 | Fast Track | 39.84 | Solar | 7998 | R1 | Design and Construction
D26-21 | 2026-03-19 | Fast Track | 38.4 | Solar | 8572 | R1 | Design and Construction
D26-22 | 2026-03-19 | Fast Track | 38.4 | Solar | 8572 | R1 | Design and Construction
D26-23 | 2026-03-19 | Fast Track | 38.4 | Solar | 8572 | R1 | Design and Construction
D26-24 | 2026-03-19 | Fast Track | 38.4 | Solar | 8572 | R1 | Design and Construction
D26-25 | 2026-03-19 | Fast Track | 38.4 | Solar | 8047 | R2 | Design and Construction
D26-26 | 2026-03-20 | Fast Track | 39.99 | Solar | 620232 | R75 | Design and Construction
D26-27 | 2026-03-20 | Fast Track | 39.99 | Solar | 7172 | R865 | Design and Construction
D26-28 | 2026-03-20 | Fast Track | 25.62 | Solar | 7928 | R15 | Design and Construction
D26-29 | 2026-03-20 | Fast Track | 40 | Solar | 7970 | R1 | Permission To Operate
D26-30 | 2026-03-31 | Simplified | 15.36 | Solar | 620218 | R1 | Design and Construction
D26-31 | 2026-03-31 | Fast Track | 24.48 | Solar | 620218 | R1 | Design and Construction
D26-32 | 2026-04-06 | Fast Track | 34.6 | Solar | 620248 | R2 | Design and Construction
D26-33 | 2026-04-10 | Simplified | 15 | Solar + Storage | 7210 | R875 | Interconnection Agreement
D26-34 | 2026-03-26 | Fast Track | 39.99 | Solar | 620174 | R1 | Interconnection Agreement
D26-35 | 2026-04-20 | Fast Track | 34.6 | Solar | 620248 | R2 | Design and Construction
D26-36 | 2026-04-28 | Fast Track | 38.4 | Solar | 620288 | R265 | Design and Construction
D26-37 | 2026-04-28 | Fast Track | 38.4 | Solar | 620288 | R265 | Interconnection Agreement
D26-38 | 2026-04-28 | Fast Track | 38.4 | Solar | 7452 | R2 | Design and Construction
D26-39 | 2026-04-28 | Fast Track | 38.4 | Solar | 62023 | R45 | Design and Construction
D26-40 | 2026-05-19 | Fast Track | 34.6 | Solar | 620248 | R2 | Design and Construction
D26-41 | 2026-05-19 | Fast Track | 34.6 | Solar | 620248 | R1 | Design and Construction
D26-42 | 2026-05-29 | Fast Track | 26.6 | Solar | 7148 | R1 | Interconnection Agreement
D26-44 | 2026-06-29 | Fast Track | 38.38 | Solar | 7148 | R1 | Initial Engineering Review

## Project Status Terminology
*Project not yet deemed complete, hasn't been assigned ID#
Status process:
1. Application Submitted
2. Initial Engineering Review
3. Supplemental Engineering Review
4. System Impact Study
5. Facilities Study
6. Interconnection Agreement
7. Design and Construction
8. Metering/ Witness Testing/ Commissioning
9. Permission To Operate
Miscellaneous:
On Hold
Material Modification
Withdrawn
Facility Upgrade Underway