## Materials
Exhibit F – Schedule of Values
NDTA Line Hardware
Instructions for bidder: Please identify the ideal approved manufacturer and catelog number (referencing Exhibit G-Line Hardware Approved Manufacturers) in columns G and H, input corresponding unit price and lead time in colum J and K. Bidders may also provide an alternate manufacturer and catelog number in columns M and N and input corresponding alternate unit price and lead time in columns P and Q. Suppliers must make best effor to provide domestic preference status in columns I or O. Please provide freight/transportation pricing in the table below. If none, please explain in detail in final proposal.
Line | StockNum | Description | Estimated Quantity Needed | Unit of Measure | Approved Manufacturer | Approved Catelog Number | Produced in United States Y/N | Unit Price | Lead Time (Weeks) | Subtotal | Alternate Manufacturer | Alternate Catelog Number | Produced in United States Y/N | Alternate Unit Price | Alternate Lead Time (Weeks) | Alternate Subtotal
1 | 101130500 | BOLT GALV CARRIAGE 3/8 IN X 5 INCH | 105 | EA | [5 empty] | 0 | [5 empty] | 0
2 | 101251800 | BOLT GALV DOUBLE ARM 5/8 X 18 | 26 | EA | [5 empty] | 0 | [5 empty] | 0
3 | 101252000 | BOLT GALV DOUBLE ARM 5/8 X 20 | 26 | EA | [5 empty] | 0 | [5 empty] | 0
4 | 101451000 | BOLT GALV EYE OVAL 5/8 X 10 | 112 | EA | [5 empty] | 0 | [5 empty] | 0
5 | 101451200 | BOLT GALV EYE OVAL 5/8 X 12 | 30 | EA | [5 empty] | 0 | [5 empty] | 0
6 | 101640500 | BOLT GALV MACHINE 1/2 X 5 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 655 | EA | [5 empty] | 0 | [5 empty] | 0
7 | 101640600 | BOLT GALV MACHINE 1/2 X 6 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 5 | EA | [5 empty] | 0 | [5 empty] | 0
8 | 101641000 | BOLT GALV MACHINE 1/2 X 10 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 427 | EA | [5 empty] | 0 | [5 empty] | 0
9 | 101651000 | BOLT GALV MACHINE 5/8 X 10 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 192 | EA | [5 empty] | 0 | [5 empty] | 0
10 | 101651200 | BOLT GALV MACHINE 5/8 X 12 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 976 | EA | [5 empty] | 0 | [5 empty] | 0
11 | 101651400 | BOLT GALV MACHINE 5/8 X 14 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 336 | EA | [5 empty] | 0 | [5 empty] | 0
12 | 101651600 | BOLT GALV MACHINE 5/8 X 16 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 228 | EA | [5 empty] | 0 | [5 empty] | 0
13 | 101651800 | BOLT GALV MACHINE 5/8 X 18 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 8 | EA | [5 empty] | 0 | [5 empty] | 0
14 | 101652000 | BOLT GALV MACHINE 5/8 X 20 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 5 | EA | [5 empty] | 0 | [5 empty] | 0
15 | 101660300 | BOLT GALV MACHINE 3/4 X 3 W/COTTER KEY BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 86 | EA | [5 empty] | 0 | [5 empty] | 0
16 | 101660800 | BOLT GALV MACHINE 3/4 X 8 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 10 | EA | [5 empty] | 0 | [5 empty] | 0
17 | 101661200 | BOLT GALV MACHINE 3/4 X 12 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 4 | EA | [5 empty] | 0 | [5 empty] | 0
18 | 101661400 | BOLT GALV MACHINE 3/4 X 14 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 997 | EA | [5 empty] | 0 | [5 empty] | 0
19 | 101661600 | BOLT GALV MACHINE 3/4 X 16 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 350 | EA | [5 empty] | 0 | [5 empty] | 0
20 | 101661800 | BOLT GALV MACHINE 3/4 X 18 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 113 | EA | [5 empty] | 0 | [5 empty] | 0
21 | 101670400 | BOLT GALV MACHINE 7/8 X 4 W/COTTER KEY B-84 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 9 | EA | [5 empty] | 0 | [5 empty] | 0
22 | 101671200 | BOLT GALV MACHINE 7/8 X 12 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 32 | EA | [5 empty] | 0 | [5 empty] | 0
23 | 101671400 | BOLT GALV MACHINE 7/8 X 14 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 111 | EA | [5 empty] | 0 | [5 empty] | 0
24 | 101671600 | BOLT GALV MACHINE 7/8 X 16 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 169 | EA | [5 empty] | 0 | [5 empty] | 0
25 | 101671800 | BOLT GALV MACHINE 7/8 X 18 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 18 | EA | [5 empty] | 0 | [5 empty] | 0
26 | 101672000 | BOLT GALV MACHINE 7/8 X 20 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 6 | EA | [5 empty] | 0 | [5 empty] | 0
27 | 101672400 | BOLT GALV MACHINE 7/8 X 24 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 6 | EA | [5 empty] | 0 | [5 empty] | 0
28 | 101672600 | BOLT GALV MACHINE 7/8 X 26 BOLT HEAD NOT INCLUDED IN LENGTH MEASUREMENT | 81 | EA | [5 empty] | 0 | [5 empty] | 0
29 | 103482200 | BOLT SS 1/2 X 2 FULL THREADS #304 STAINLESS ASTM F593C W/ SILICON BRONZE NUT, 2 SS ROUND FLAT WASHERS & 1 SS SPLIT LOCK WASHER | 8 | EA | [5 empty] | 0 | [5 empty] | 0
30 | 105403800 | NUT LOCKNUT MF 3/8 MF | 271 | EA | [5 empty] | 0 | [5 empty] | 0
31 | 105404800 | NUT LOCKNUT MF 1/2 MF | 211 | EA | [5 empty] | 0 | [5 empty] | 0
32 | 105405800 | NUT LOCKNUT MF 5/8 | 1087 | EA | [5 empty] | 0 | [5 empty] | 0
33 | 105406800 | NUT LOCKNUT MF 3/4 | 477 | EA | [5 empty] | 0 | [5 empty] | 0
34 | 105407800 | NUT LOCKNUT MF 7/8 | 230 | EA | [5 empty] | 0 | [5 empty] | 0
35 | 105605800 | NUT SQUARE GALV 5/8 GALV | 284 | EA | [5 empty] | 0 | [5 empty] | 0
36 | 105606800 | NUT SQUARE GALV 3/4 GALV | 3 | EA | [5 empty] | 0 | [5 empty] | 0
37 | 105607800 | NUT SQUARE GALV 7/8 GALV | 18 | EA | [5 empty] | 0 | [5 empty] | 0
38 | 106263300 | WASHER CURVED SQUARE 3X3 11/16 IN HOLE 1/4 IN THICK GALV | 212 | EA | [5 empty] | 0 | [5 empty] | 0
39 | 106264400 | WASHER CURVED SQUARE 4 X 4 X 1/4" HOLE 13/16" | 376 | EA | [5 empty] | 0 | [5 empty] | 0
40 | 106274400 | WASHER CURVED SQUARE 4X4 15/16 IN HOLE 1/4 IN THICK GALV | 259 | EA | [5 empty] | 0 | [5 empty] | 0
41 | 106404800 | WASHER LOCK STAINLESS - TO FIT BOLT SIZE 1/2" | 179 | EA | [5 empty] | 0 | [5 empty] | 0
42 | 106405200 | WASHER STAINLESS STEEL, ROUND FLAT, 1 3/8" O.D.X 9/16" TO FIT 1/2" BOLT | 358 | EA | [5 empty] | 0 | [5 empty] | 0
43 | 106414800 | WASHER SPLIT LOCK GALV 1/2 | 1208 | EA | [5 empty] | 0 | [5 empty] | 0
44 | 106416500 | WASHER SPRING LOCK GALV 5/8 | 715 | EA | [5 empty] | 0 | [5 empty] | 0
45 | 106416800 | WASHER SPRING LOCK GALV 3/4 | 587 | EA | [5 empty] | 0 | [5 empty] | 0
46 | 106417800 | WASHER SPRING LOCK GALV 7/8 | 230 | EA | [5 empty] | 0 | [5 empty] | 0
47 | 106626800 | WASHER ROUND 13/16 IN HOLE 2 IN O.D. 9 GAUGE GALV FOR 3/4 IN BOLT | 32 | EA | [5 empty] | 0 | [5 empty] | 0
48 | 106627800 | WASHER ROUND 15/16 IN HOLE 2" (+1/4", - 0") OD, 1/4" (+ 0",- 1/16") THICK GALV | 66 | EA | [5 empty] | 0 | [5 empty] | 0
49 | 106842200 | WASHER SQUARE 2X2 9/16 IN HOLE 1/8 IN THICK GALV | 344 | EA | [5 empty] | 0 | [5 empty] | 0
50 | 106852200 | WASHER SQUARE 2 1/4X2 1/4 11/16 IN HOLE 3/16 IN THICK GALV | 3280 | EA | [5 empty] | 0 | [5 empty] | 0
51 | 106863400 | WASHER SQUARE 3X3 13/16 IN HOLE 1/4 IN THICK GALV | 10 | EA | [5 empty] | 0 | [5 empty] | 0
52 | 108443800 | SCREW LAG HEX HEAD ZINC-PLATED 1/4" X 2" WITH 5/8" STEEL/NEOPRENE GASKET WASHER | 8675 | EA | [5 empty] | 0 | [5 empty] | 0
53 | 108444500 | SCREW LAG 1/2" X 4 1/2" FETTER DRIVE WITH DRIVE POINT OR PILOT POINT. NEMA STD. | 12 | EA | [5 empty] | 0 | [5 empty] | 0
54 | 108841000 | SCREW CAP HEX HEAD, 1/2"X 1" LONG W/13 THREADS PER INCH THREADED TO HEAD, ZINC-PLATED. | 1208 | EA | [5 empty] | 0 | [5 empty] | 0
55 | 110030500 | XARM BRACE PAIR WOOD 5' X 18" DROP, TOP HOLE 9/16", BOTTOM HOLE 11/16" | 4 | EA | [5 empty] | 0 | [5 empty] | 0
56 | 110052800 | XARM BRACE FLAT STEEL 28IN LONG 26IN BC 1/4IN X 1-1/4ININGALVANIZED 7/16IN ARM & 9/16IN POLE HOLES 17-3/4IN DROP FROM XARM THROUGH BOLT TO BRACE MOUNTING BOLT | 271 | EA | [5 empty] | 0 | [5 empty] | 0
57 | 110074800 | XARM BRACE WOOD PAIR 7 FT. X 24 IN. DROP TOP HOLE 13/16. BOTTOM HOLE 11/16 | 69 | EA | [5 empty] | 0 | [5 empty] | 0
58 | 110908000 | XARM PIN STEEL DIST 1 IN THREAD 5/8 X 6 1/2 IN SHANK | 291 | EA | [5 empty] | 0 | [5 empty] | 0
59 | 110909000 | XARM PIN STEEL DIST 1 IN HEAD 3/4 X 6 1/2 IN SHANK | 40 | EA | [5 empty] | 0 | [5 empty] | 0
60 | 112310100 | RACK 1 SPOOL WITHOUT/INS | 176 | EA | [5 empty] | 0 | [5 empty] | 0
61 | 113134700 | BRACKET CUTOUT & ARRESTER POLE MOUNT | 3 | EA | [5 empty] | 0 | [5 empty] | 0
62 | 113170100 | BRACKET POLE TOP HD FOR LONG STUD | 14 | EA | [5 empty] | 0 | [5 empty] | 0
63 | 113713000 | RIDGE IRON FOR 8"- 9" POLE TOP DIAMETER PERCH DETERRENT DESIGN INCLUDES RIDGE IRON, PIN SHANK SUPPORT, 2 BAND STRAPS AND 2 THREADED RODS W/ 4 NUTS EACH | 47 | EA | [5 empty] | 0 | [5 empty] | 0
64 | 113763200 | RIDGE IRON ASSEMBLY INCLUDES CROSS PLATE AND SIDE ANGLES 15" TOP OF POLE TO SHACKLE IN CROSS PLATE FOR POLES 7" TO 11" POLE TOP DIAMETER | 47 | EA | [5 empty] | 0 | [5 empty] | 0
65 | 113830000 | PLATE, POLE BEARING WITHOUT MOUNTING HARDWARE | 174 | EA | [5 empty] | 0 | [5 empty] | 0
66 | 113911500 | PIN POLE TOP 15 IN & LONGER 1 IN THREAD | 66 | EA | [5 empty] | 0 | [5 empty] | 0
67 | 115062800 | GUY ANCHOR POWER SCREW 10" W/ 1" THREAD SINGLE HELIX LESS ROD & TWINEYE NUT | 55 | EA | [5 empty] | 0 | [5 empty] | 0
68 | 115067000 | GUY ANCHOR ROD 3/4 X 7FT W/1 IN THD THREAD FOR PWR SCRW ANCHOR INCLUDES TWINEYE NUT LESS COUPLING GALV | 55 | EA | [5 empty] | 0 | [5 empty] | 0
69 | 115069600 | GUY ANCHOR POWER SHAFT 8" & 10" (2-FLITE) 1-1/2" SQ SHAFT | 25 | EA | [5 empty] | 0 | [5 empty] | 0
70 | 115070600 | GUY ANCHOR ROD 1 1/2 IN X 5' SQUARE SHAFT EXTENSION (USE WITH 115069600) | 147 | EA | [5 empty] | 0 | [5 empty] | 0
71 | 115071500 | GUY ANCHOR NUT, TRIPLE EYE FOR USE ON 1 1/2" SQUARE SHAFT ANCHORS AND RODS | 25 | EA | [5 empty] | 0 | [5 empty] | 0
72 | 115113300 | GUY ATTACH HOOK TWO HOLE | 56 | EA | [5 empty] | 0 | [5 empty] | 0
73 | 115114000 | GUY ATTACH CLAMP GUY BOND 3/4" - 1" | 89 | EA | [5 empty] | 0 | [5 empty] | 0
74 | 115129500 | GUY ATTACH DEAD END TEE CURVED BASE 6 IN. HOLE 15/16" STEM HOLE 13/16" MOUNTING HOLES 6" C TO C | 6 | EA | [5 empty] | 0 | [5 empty] | 0
75 | 115129700 | GUY ATTACH DEAD END TEE CURVED BASE 15/16" STEM HOLE 15/16" MOUNTING HOLES 6" C TO C | 56 | EA | [5 empty] | 0 | [5 empty] | 0
76 | 115130000 | GUY ATTACH ROLLER 13/16" HOLE 13/16" THICK | 51 | EA | [5 empty] | 0 | [5 empty] | 0
77 | 115130100 | GUY ATTACH ROLLER 15/16 IN HOLE | 6 | EA | [5 empty] | 0 | [5 empty] | 0
78 | 115405800 | GUY EYE LET OVAL 5/8 IN. WITH SLOTTED BOLT HOLE. | 40 | EA | [5 empty] | 0 | [5 empty] | 0
79 | 115630600 | GUY GRIP PREFORMED 3/8 35 IN LONG - "B" GRADE ORANGE | 205 | EA | [5 empty] | 0 | [5 empty] | 0
80 | 115630700 | GUY GRIP PREFORMED 7/16 38 IN LONG - "B" GRADE GREEN | 172 | EA | [5 empty] | 0 | [5 empty] | 0
81 | 115730800 | GUY MARKER, 8' YELLOW PLASTIC, ORANGE REFLECTORIZED, 2.75" DIA., 4 PIECES OF REFLECTIVE 3M TAPE AND V GROOVE CLAMP | 57 | EA | [5 empty] | 0 | [5 empty] | 0
82 | 116194800 | GROUND CLAMP FOR 1/2 IN COPPER CLAD GROUND ROD, WIRE SIZE 38-2 STR. | 115 | EA | [5 empty] | 0 | [5 empty] | 0
83 | 116195800 | GROUND CLAMP FOR 5/8" GALVANIZED GROUND ROD, WIRE SIZE #10-1/0 STR. INCL 5/16" GALVANIZED STEEL. | 104 | EA | [5 empty] | 0 | [5 empty] | 0
84 | 116202800 | GROUND CLIP BONDING FOR 5/8 IN BOLTS | 243 | EA | [5 empty] | 0 | [5 empty] | 0
85 | 116203400 | GROUND CLIP BONDING FOR 3/4 IN. BOLTS | 3 | EA | [5 empty] | 0 | [5 empty] | 0
86 | 116210000 | GROUND CLIP BONDING FOR 7/8 IN. BOLTS | 18 | EA | [5 empty] | 0 | [5 empty] | 0
87 | 116611100 | GROUND LUG TRANSFORMER 1/2"-13 STUD THREAD | 26 | EA | [5 empty] | 0 | [5 empty] | 0
88 | 116611300 | GROUND LUG STEEL POLE ONE BOLT VICE STYLE CONNECTOR CLAMPING RANGE 8 SOL - 1/0 STR 1/2 IN-13 STUD THREAD | 185 | EA | [5 empty] | 0 | [5 empty] | 0
89 | 116641500 | GROUND LUG BONDING BOLT 1/2X1 1/2 IN (GWB 51-1/2) | 47 | EA | [5 empty] | 0 | [5 empty] | 0
90 | 116841000 | GROUND ROD SECTIONAL 1/2" X 10' CUWELD NEMA GR-1 NON-THREADED | 123 | EA | [5 empty] | 0 | [5 empty] | 0
91 | 116861000 | GROUND ROD GALV 5/8 IN X 8 FT | 104 | EA | [5 empty] | 0 | [5 empty] | 0
92 | 116922500 | STAPLE, GROUND ½ IN X 1-1/2 IN ZINC AL COATED HOT DIP GALVANIZED STEEL, 9 GAUGE BARBED AND ADHESIVE COATED POINT DIAMOND CROWN TAPE COLLATED FOR USE WITH MILWAUKEE CORDLESS FENCING STAPLER ON CCA TREATED POLES ORDER BY BOX. 960 STAPLES/BOX. | 21 | EA | [5 empty] | 0 | [5 empty] | 0
93 | 118751200 | SHIELD WIRE SUPPORT BRACKET DOUBLE 5/8" X 12" WITH 1/2" CHAIN LINK | 2 | EA | [5 empty] | 0 | [5 empty] | 0
94 | 118751500 | SHIELD WIRE SUPPORT BRACKET SINGLE 5/8" X 14" WITH 1/2" CHAIN LINK | 64 | EA | [5 empty] | 0 | [5 empty] | 0
95 | 120023000 | INSULATOR BUS SUPPORT POST 3 IN B.C. 22 IN HIGH 46 KV INSUL. DIAM. 8 IN. STD STRENGTH COLOR-GRAY | 305 | EA | [5 empty] | 0 | [5 empty] | 0
96 | 120454200 | INSULATOR GUY STRAIN 12000 LB 54-2 | 19 | EA | [5 empty] | 0 | [5 empty] | 0
97 | 120467800 | INSULATOR GUY STRAIN FIBERGLASS 78 INCH - 30,000 LB. CLEVIS ROLLER TO CLEVIS ROLLER 3/4" PIN 1" CLEVIS OPENING 2.04" PIN CENTER TO CLEVIS VALLEY ROLLER CHANNEL DIAMETER 1.9" | 33 | EA | [5 empty] | 0 | [5 empty] | 0
98 | 120521200 | INSULATOR PIN TYPE 7.2-14 KV 1 IN THREAD (55-3 WITH 5/8" R SIDE GROOVE) C NECK | 493 | EA | [5 empty] | 0 | [5 empty] | 0
99 | 120522100 | INSULATOR PIN TYPE 23 KV 1" THREAD 55-5 F NECK INSUL DIAM 7-1/2" | 20 | EA | [5 empty] | 0 | [5 empty] | 0
100 | 120618200 | INSULATOR VERTICAL LINE POST 46 KV UNIVERSAL CLAMP TOP CONDUCTOR RANGE 0.2" - 1.34" WITH 3/4"-10 STUD BASE | 48 | EA | [5 empty] | 0 | [5 empty] | 0
101 | 120619500 | INSULATOR VERTICAL LINE POST POLYMER 69 KV TIETOP F NECK 26.1" OVERALL LENGTH | 205 | EA | [5 empty] | 0 | [5 empty] | 0
102 | 120621600 | INSULATOR POLYMER HORIZONTAL LINE POST 115KV CLAMPTOP, CAST GAIN BASE, MAXIMUM 52" BASE TO CONDUCTOR, MIN LEAKAGE DISTANCE 94", MIN CIFO+ (WITHSTAND) 590KV (553) CIFO- (WITHSTAND) 705KV (590) | 120 | EA | [5 empty] | 0 | [5 empty] | 0
103 | 120622000 | INSULATOR POLYMER HORIZONTAL LINE POST 115/138 KV CLAMPTOP, TWO PIECE CAST GAIN BASE, MAXIMUM 65.5" BASE TO CONDUCTOR, MIN LEAKAGE DISTANCE 148". | 24 | EA | [5 empty] | 0 | [5 empty] | 0
104 | 120623500 | INSULATOR POLYMER HORIZONTAL LINE POST 69 KV CLAMP TOP 1.75 IN ROD GALVANIZED GAIN BASE MAX LENGTH 27.4" CONDUCTOR TO POLE | 184 | EA | [5 empty] | 0 | [5 empty] | 0
105 | 120624500 | INSULATOR LINE POST HORIZONTAL 69 KV 2 HOLE DROP TONGUE 2 IN ROD GALVANIZED GAIN BASE MAX LENGTH 29.3" CONDUCTOR TO POLE MDCL 1721 LBS | 8 | EA | [5 empty] | 0 | [5 empty] | 0
106 | 120710100 | INSULATOR , SPOOL, FOR RACK &/OR SINGLE UPSET 53-2 EEI CLASS 53-2 GRAY COLOR FOR NEW PURCHASES | 206 | EA | [5 empty] | 0 | [5 empty] | 0
107 | 120906500 | INSULATOR SUSPENSION POLYMER 1 PIECE 15 KV CLEVIS AND EYE. 15 KIP FERROUS END FITTINGS REQUIRED | 44 | EA | [5 empty] | 0 | [5 empty] | 0
108 | 120911500 | INSULATOR SUSPENSION 5 3/4" X 10" ANSI 52-3 20000 LB FERROUS END FITTINGS REQUIRED | 850 | EA | [5 empty] | 0 | [5 empty] | 0
109 | 120912300 | INSULATOR SUSPENSION 5 3/4" X 10" ANSI 52-5 30000 LB FERROUS END FITTINGS REQUIRED | 42 | EA | [5 empty] | 0 | [5 empty] | 0
110 | 120912500 | INSULATOR SUSPENSION 5 3/4" X 10" ANSI 52-8 40000 LB FERROUS END FITTINGS REQUIRED | 150 | EA | [5 empty] | 0 | [5 empty] | 0
111 | 120955200 | INSULATOR SUSPENSION POLYMER 69KV, 1 PIECE Y-CLEVIS GROUND FITTING BALL LINE FITTING, 46" LENGTH 109" LEAKAGE | 8 | EA | [5 empty] | 0 | [5 empty] | 0
112 | 120956000 | INSULATOR, SUSPENSION POLYMER 115 KV, 1 PIECE Y-CLEVIS GROUND FITTING BALL LINE FITTING 25,000 LB SPECIFIED MECHANICAL LOAD | 3 | EA | [5 empty] | 0 | [5 empty] | 0
113 | 121015100 | INSULATOR BALL CLVS 2 1/2-3 IN.L 5/8 PIN 13/16 OPN 30M LB | 16 | EA | [5 empty] | 0 | [5 empty] | 0
114 | 121015300 | INSULATOR BALL CLVS 4 5/16" L 7/8 PIN 15/16 OPN 50M LB FOR USE WITH 40,000 LB BALL AND SOCKET INSULATORS CLASS 52-8 AND 52-11 PER ANSI SPEC C-29.2-71. | 6 | EA | [5 empty] | 0 | [5 empty] | 0
115 | 121137000 | INSULATOR CLEVIS (Y) BALL 2 1/2-3 1/2 IN.L 3/4 BOLT W/CTR PIN 30M LAPP 7595 B | 222 | EA | [5 empty] | 0 | [5 empty] | 0
116 | 121138000 | INSULATOR CLEVIS (Y) BALL 1-13/16" BOLT TO CLEVIS 3-15/16" BOLT TO BALL CENTER 7/8 BENT BOLT W/ CTR PIN 50M FOR USE WITH CLASS 52-8 & 52-11 INSULATORS PER ANSI SPEC C-29.2-71 | 15 | EA | [5 empty] | 0 | [5 empty] | 0
117 | 121303400 | INSULATOR LINK CONNECTING STRAIGHT, 1/4" X 2" X 6" HOLE TO HOLE. 13/16" HOLES ULTIMATE STRENGTH 15,000 LBS | 86 | EA | [5 empty] | 0 | [5 empty] | 0
118 | 121423100 | INSULATOR SOCKET EYE 2-1/8" (+,- 1/16") L, 1-1/8" (+,-0") W, 1-5/8" (+,-0) EYE OD, 11/16" HOLE MINIMUM 30 KIPS ULTIMATE | 3 | EA | [5 empty] | 0 | [5 empty] | 0
119 | 121424100 | INSULATOR SOCKET EYE 2-3/16" (+,-1/8") L, 1/2" (+,- 1/16") W, 1-1/2" (+1/8",-0") EYE OD, 11/16" HOLE MINIMUM 15 KIPS ULTIMATE | 132 | EA | [5 empty] | 0 | [5 empty] | 0
120 | 121428300 | INSULATOR SOCKET EYE H L LINK, 30 KIP ULT 10"L, 5/8" EYE WIDTH 7/8"-1" EYE RADIUS W/ 11/16" D PIN HOLE, 7/8" MAT | 8 | EA | [5 empty] | 0 | [5 empty] | 0
121 | 121430000 | INSULATOR SOCKET EYE 5-1/2" (+,- 0") L, 1-1/16" (+,-0") W, 2-1/4" (+,-0) EYE OD, 1-1/16" HOLE MINIMUM 50 KIPS ULTIMATE FOR USE WITH 40,000 LB BALL AND SOCKET INSULATORS CLASS 52-8 AND 52-11 PER ANSI SPEC C-29.2-71 | 3 | EA | [5 empty] | 0 | [5 empty] | 0
122 | 121449000 | SOCKET, CLEVIS 30,000LB. 5/8" PIN DIAMETER FOR USE WITH ANSI 52-3 (20KIP) AND ANSI 52-5 (30KIP) BALL- AND- SOCKET INSULATORS. | 2 | EA | [5 empty] | 0 | [5 empty] | 0
123 | 121450000 | SOCKET, CLEVIS 50,000LB. 7/8" PIN DIAMETER FOR USE WITH 40,000 LB. BALL- AND- SOCKET INSULATORS. | 3 | EA | [5 empty] | 0 | [5 empty] | 0
124 | 121612000 | SHACKLE, ANCHOR, LONG, 30,000 LB W/MAX 5/8" PIN OR BOLT (W/NUT) AND COTTER KEY | 51 | EA | [5 empty] | 0 | [5 empty] | 0
125 | 121731200 | INSULATOR TURN BUCKLE JAW-JAW 7/8 ROD 3/4 BOLT 12 IN TAKEUP 35 M BTC 3135 29 IN CC LENGTH AT MIDPOSITION | 8 | EA | [5 empty] | 0 | [5 empty] | 0
126 | 121860700 | INSULATOR STUD LINE POST 3/4" X 7" OR 7 9/16". TO INCLUDE STUD, LOCKNUT, NUT, & LOCKWASHER FOR UNDER INS., WITH OR WITHOUT SQ. WASHER | 186 | EA | [5 empty] | 0 | [5 empty] | 0
127 | 121910000 | INSULATOR YOKE PLATE, (TRIANGLE) 5/8" STEEL, 16" HOLE SPACING, 30,000 LBS. ULTIMATE STRENGTH | 2 | EA | [5 empty] | 0 | [5 empty] | 0
128 | 121912000 | INSULATOR YOKE PLATE, (TRIANGLE) 5/8" STEEL, 18" HOLE SPACING, 1" HOLES, 40,000 LBS. ULTIMATE STRENGTH | 3 | EA | [5 empty] | 0 | [5 empty] | 0
129 | 121930400 | INSULATOR YOKE PLATE 1/2" MATERIAL 6" HOLE SPACING 5-3/16" VERTICAL HOLE SPACING 24KIP | 6 | EA | [5 empty] | 0 | [5 empty] | 0
130 | 122110900 | ARRESTER 10 KV MOV OH DIST XFRMR & RISER POLE W/GND LEAD DISC & MOUNTING BRACKET TO BE PERMANENTLY MARKED ON BASE & BE READABLE FROM SAFE DISTANCE WHILE ENERGIZED. MARKING TO INCLUDE KV RATING (POLYMER HOUSING) | 36 | EA | [5 empty] | 0 | [5 empty] | 0
131 | 122114000 | ARRESTER DIST 39 KV MCOV 31.5 KV, METAL OXIDE W/SEPARATE GROUND LEAD ISOLATOR, W/3 FOOT SOFT COPPER, WITHOUT XARM BRACKET (POLYMER HOUSING) | 8 | EA | [5 empty] | 0 | [5 empty] | 0
132 | 122214100 | ARRESTER 39 KV INTERMEDIATE CLASS METAL-OXIDE SURGE (31.5 KV MCOV) 8 3/4" B/C. POLYMER HOUSING. MFGR. SHALL SUPPLY GRADING RINGS WHEN REQUIRED BY ARRESTER DESIGN CRITERIA. MFGR TO PERMANENTLY MARK ARR WITH THEIR TD MARKING INDICATING MO | 8 | EA | [5 empty] | 0 | [5 empty] | 0
133 | 122219000 | BRACKET, ARRESTER ASSEMBLY OH TRANSFORMER INCLUDES BRACKET & 2 EACH STAINLESS STEEL 1/2" X 1" 13 THD HEX HEAD BOLTS, FLAT WASHERS, AND SPRING LOCK WASHERS | 33 | EA | [5 empty] | 0 | [5 empty] | 0
134 | 123226000 | CUTOUT OPEN TYPE 15 KV 100 AMP WITH PARALLEL GROOVE OR EYE BOLT CONNECTORS. CROSSARM MOUNTING BRACKET INCLUDED. 7.1 KA SYM IC RATING | 36 | EA | [5 empty] | 0 | [5 empty] | 0
135 | 123603500 | CUTOUT SUBSTATION 100 AMP 34.5 KV DROP OUT, SOUTHERN STATES TYPE BPA, VERTICAL MOUNTING 36" MOUNTING HOLE SPACING ON BASE DRAWING A-15125195 | 5 | EA | [5 empty] | 0 | [5 empty] | 0
136 | 130806000 | COND OH STEEL 3/8 GUY STRAND HS 273LB/MFT. IN 500' HAND COILS ONLY. ASTM STANDARD A363 GALVANIZING CLASS A | 2150 | FOOT | [5 empty] | 0 | [5 empty] | 0
137 | 130807100 | COND OH STEEL 7/16 GUY STRAND EHS 250' HAND COILS (INVENTORY MAY CONTAIN SOME IN 500' COILS) , 399 LB/MFT, ASTM A363, CLASS A GALVANIZING | 2863 | FOOT | [5 empty] | 0 | [5 empty] | 0
138 | 130820000 | COND OH STEEL 5/16" WIRE 250' HAND COILS (SUB OTS#130820500 FOR QUANTITIES OF 1000' +) 205 LBS/MFT MUST BE COMMON GRADE 3 STRAND WITH CLASS BB GALVANIZING PER LATEST REVISION OF ASTM STANDARD A-1111 | 17768 | FOOT | [5 empty] | 0 | [5 empty] | 0
139 | 130850000 | COND COPPER COATED STEEL #4 7 STR BARE 0.2043" DIAM CCS 40% 270' 25 LB SPOOL | 929 | FOOT | [5 empty] | 0 | [5 empty] | 0
140 | 130951000 | COND OH TIE WIRE NO. 10 AWG DIAMETER 0.134" PER ASTM A-641 GALVANIZED LOW CARBON STEEL ARMOR WIRE SOFT TEMPER WITH CLASS 3 OR A COATING. 38 LBS/MFT 260 FT/COIL (10 LBS) OR 1300 FT/COIL (50 LBS) | 84 | EA | [5 empty] | 0 | [5 empty] | 0
141 | 141021000 | BOLTED CLAMP STN SNUB AL #6 - 2/0 ACSR MUST COVER WIRE DIAM. .447 | 12 | EA | [5 empty] | 0 | [5 empty] | 0
142 | 141023000 | BOLTED CLAMP STN SNUB AL 3/0 - 266.8 26/7 AL & ACSR MUST COVER WIRE DIAM .642 | 40 | EA | [5 empty] | 0 | [5 empty] | 0
143 | 141029000 | BOLTED CLAMP STN SNUB STEEL FOR 6 THRU 3STR6 CU OR 1/4, 9/32 & 5/16" STEEL | 3 | EA | [5 empty] | 0 | [5 empty] | 0
144 | 141040100 | BOLTED CLAMP SUPPORT (TRUNNION) CUSHION GRIP CLAMPING RANGE 2 X 0.250" - 0.447" T2 #4 - T2 2/0 INCLUDES BOTTOM CLAMP W/ELASTOMER CUSHIONS, 2 TOP CLAMPS (KEEPERS) W/ELASTOMER CSHN, 2 CPTV U-BOLTS W/GROMMETS, 4 LOCK WASHERS, & 4 NUTS. | 4 | EA | [5 empty] | 0 | [5 empty] | 0
145 | 141040300 | BOLTED CLAMP SUPPORT (TRUNNION) CUSHION GRIP CLAMPING RANGE 2X 0.447 IN - 2X 0.642 IN T2 2/0 - T2 266.8" KCMIL INCLUDES BTM CLAMP W/ELASTOMR CUSHIONS,2 TOP CLAMPS(KEEPERS)W/ELASTOMR CSHN,2 CPTV U-BOLTS W/GROMMETS, 4 LOCK WASHERS, & 4 NUTS | 8 | EA | [5 empty] | 0 | [5 empty] | 0
146 | 141041000 | BOLTED CLAMP SUSPENSION ALUM 0.50" - 1.04" RANGE WITH SOCKET EYE 25KIP ULTIMATE 30 DEGREE MAX TAKEOFF ANGLE FOR USE WITH ACSR WITH ALUMINUM ARMOR ROD | 10 | EA | [5 empty] | 0 | [5 empty] | 0
147 | 141045900 | BOLTED CLAMP SUSPENSION MALLEABLE IRON. RANGE TO INCLUDE .20-.60 | 132 | EA | [5 empty] | 0 | [5 empty] | 0
148 | 141140500 | BOLTED CLAMP SUPPORT (TRUNNION) CUSHION GRIP CLAMPING RANGE 0.375" - 0.563" 1/0-4/0 AWG INCLUDES BOTTOIM CLAMP W/ELASTOMER CUSHIONS, 2 TOP CLAMPS (KEEPERS) W/ELASTOMER CUSHION, 2 CAPTIVE U-BOLTS W/GROMMETS, 4 LOCK WASHERS, AND 4 NUTS | 238 | EA | [5 empty] | 0 | [5 empty] | 0
149 | 141140600 | BOLTED CLAMP SUPPORT (TRUNNION) CUSHION GRIP CLAMPING RANGE 0.564" - 0.883" 266.8-477 KCMIL INCLUDES BOTTOM CLAMP W/ELASTOMER CUSHIONS, 2 TOP CLAMPS(KEEPERS) W/ELASTOMER CUSHION, 2 CAPTIVE U-BOLTS W/GROMMETS, 4 LOCK WASHERS, & 4 NUTS | 76 | EA | [5 empty] | 0 | [5 empty] | 0
150 | 142205100 | COMPRESSION TAP H NUMBER 1 4-6 RUN AND TAP MFGR., CAT. NO., COND. SIZE, AND BURNDY HAND TOOL DIE SIZE TO BE STAMPED ON CONNECTOR | 17 | EA | [5 empty] | 0 | [5 empty] | 0
151 | 142205200 | COMPRESSION TAP H NUMBER 2 2-1/0 RUN 2-4-6 TAP MFGR., CAT. NO., COND. SIZE, AND BURNDY HAND TOOL DIE SIZE TO BE STAMPED ON CONNECTOR | 7 | EA | [5 empty] | 0 | [5 empty] | 0
152 | 142205400 | COMPRESSION TAP H NUMBER 4 1/0-2/0 RUN AND TAP MFGR., CAT. NO., COND. SIZE, AND BURNDY HAND TOOL DIE SIZE TO BE STAMPED ON CONNECTOR | 44 | EA | [5 empty] | 0 | [5 empty] | 0
153 | 142208000 | COMPRESSION TAP H A 500-4/0 STR, 477-4/0 ACSR, 1/0T2 - B 500-4/0 STR, 477-4/0 ACSR ,1/0T2 MINIMUM LENGTH = 4.5" MFGR., CAT. NO., COND. SIZE, AND BOTH KEARNEY & T&B (HOMAC) HYDRAULIC DIE SIZE TO BE STAMPED ON CONNECTOR | 7 | EA | [5 empty] | 0 | [5 empty] | 0
154 | 142211000 | COMPRESSION TAP 6 SOL TO 4 STR RUN 4 SOL TO 4 STR TAP "C" CRIMP BG OR 5/8 DIE. COPPER. | 86 | EA | [5 empty] | 0 | [5 empty] | 0
155 | 142313000 | COMPRESSION SLEEVE FULL TENSION 3/0 6X1 ACSR. MFGR., CAT NO, COND SIZE AND BOTH KEARNEY AND T&B (HOMAC) HYDRAULIC DIE SIZE TO BE STAMPED ON BARREL | 3 | EA | [5 empty] | 0 | [5 empty] | 0
156 | 142601000 | COMPRESSION TERMINAL PIN 1/0 STR & ACSR MUST HAVE YELLOW PLASTIC END PLUGS. MFGR., CAT. NO., COND. SIZE, AND BURNDY HAND TOOL DIE SIZE TO BE STAMPED ON BARREL | 20 | EA | [5 empty] | 0 | [5 empty] | 0
157 | 142626600 | COMPRESSION TERMINAL PAD 2 HOLE 266.8 STR & ACSR 18/1 & 26/7; TUBE-TYPE PREFERRED MUST HAVE END PLUG; MAX. WIDTH 1 3/4"; BARREL LENGTH 3 1/4" MIN.; MFGR., CAT. NO., COND. SIZE, & BOTH KEARNEY & T&B (HOMAC) HYDRAULIC DIE SIZE TO BE | 4 | EA | [5 empty] | 0 | [5 empty] | 0
158 | 142627700 | COMPRESSION TERMINAL PAD 2 HOLE 477 & 500 MCM STR & COMP AL AND 477 18/1 ACSR; MUST HAVE END PLUG; TUBE-TYPE PREFERRED; MAX. WIDTH 1 3/4"; BARREL LENGTH 3 1/4" MIN; 5 CRIMPS MIN; MFGR., CAT. NO., COND. SIZE & BOTH KEARNEY AND T&B (HOMAC) | 7 | EA | [5 empty] | 0 | [5 empty] | 0
159 | 143026000 | PREFORMED ARMOR ROD 3/0 6X1 ALUMINUM 56 IN LONG ORANGE 11/SET | 97 | EA | [5 empty] | 0 | [5 empty] | 0
160 | 143033700 | PREFORMED ARMOR ROD 3/8 IN 7W (AR1130)GALV STL 48 IN LONG ORANGE 12/SET . | 126 | EA | [5 empty] | 0 | [5 empty] | 0
161 | 143122600 | PREFORMED AGS ASSEMBLY 266.8 18/1 SGLPOST VP= 0-3 DEG HP=0-20 INCLUDES NEOPRENE INSERTS, CASTING CLAMP, & SET OF 11 34" RODS PURPLE | 3 | EA | [5 empty] | 0 | [5 empty] | 0
162 | 143127300 | PREFORMED AGS ASSEMBLY 3/0 6X1 SGLSUSP 20-45 DEG INCLUDES NEOPRENE INSERTS, CASTING CLAMP, & SET OF10 40" RODS BLUE (TRK) | 8 | EA | [5 empty] | 0 | [5 empty] | 0
163 | 143128600 | PREFORMED AGS ASSEMBLY 266.8 26/7 SGLSUSP 20-45 DEG INCLUDES NEOPRENE INSERTS, CASTING CLAMP, & SET OF 12 50" RODS RED (TRK) | 99 | EA | [5 empty] | 0 | [5 empty] | 0
164 | 143142600 | PREFORMED AGS ASSEMBLY 266.8 26/7 DBLSUSP 45-60 DEG INCLUDES NEOPRENE INSERTS, CASTING CLAMPS, & SET OF 12 66" RODS RED (TRK) | 3 | EA | [5 empty] | 0 | [5 empty] | 0
165 | 143155000 | PREFORMED AGS ASSEMBLY 954 45X7 SGLSUSP INCLUDES NEOPRENE INSERTS, CASTING CLAMP, & SET OF 12 82" RODS BROWN (TRK) | 3 | EA | [5 empty] | 0 | [5 empty] | 0
166 | 143400200 | PREFORMED TIE SINGLE SUPPORT C-NECK; UTC1104 RED, 2R, 2R71 AND 1R | 89 | EA | [5 empty] | 0 | [5 empty] | 0
167 | 143400400 | PREFORMED TIE SINGLE SUPPORT F-NECK; UTF1204 RED, 2R, 2R71 AND 1R | 8 | EA | [5 empty] | 0 | [5 empty] | 0
168 | 143401000 | PREFORMED TIE SINGLE SUPPORT C-NECK; UTC1105 YELLOW, 1/0R AND OVER 4R WITH STEEL ARMOR ROD | 211 | EA | [5 empty] | 0 | [5 empty] | 0
169 | 143401800 | PREFORMED TIE, NEUTRAL( FOR USE WITH 1 3/4" SPOOLS) 1/0 (YELLOW) (.358 - .405) | 113 | EA | [5 empty] | 0 | [5 empty] | 0
170 | 143413000 | PREFORMED TIE SINGLE SUPPORT C-NECK; UTC1107 ORANGE, 3/0R AND OVER #2R WITH STEEL ARMOR ROD, AND 2RT2 | 30 | EA | [5 empty] | 0 | [5 empty] | 0
171 | 143413200 | PREFORMED TIE SINGLE SUPPORT F-NECK; UTF1207 ORANGE,30R AND OVER #2R WITH STEEL ARMOR ROD, AND 2RT2 | 38 | EA | [5 empty] | 0 | [5 empty] | 0
172 | 143426600 | PREFORMED TIE SINGLE SUPPORT C NECK; UTC1109 PURPLE, 266R, 266R267, 1/0R WITH STEEL ARMOR ROD & 2R71 WITH ALUMINUM ARMOR ROD | 40 | EA | [5 empty] | 0 | [5 empty] | 0
173 | 143426700 | PREFORMED TIE SINGLE SUPPORT F NECK; UTF1210 BROWN, 10RT2, 20R OR 30R WITH STEEL ARMOR ROD & 10R WITH ALUMINUM ARMOR ROD | 4 | EA | [5 empty] | 0 | [5 empty] | 0
174 | 143426800 | PREFORMED TIE SINGLE SUPPORT F NECK; UTF1209 PURPLE, 266R, 266R267, 10R WITH STEEL ARMOR ROD & 2R71 WITH ALUMINUM ARMOR ROD | 19 | EA | [5 empty] | 0 | [5 empty] | 0
175 | 143447700 | PREFORMED TIE SINGLE SUPPORT C NECK; UTC1111 RED, 477A, 477R, 477R247, & 2/0 & 3/0 ACSR WITH ALUMINUM ARMOR ROD | 20 | EA | [5 empty] | 0 | [5 empty] | 0
176 | 143447800 | PREFORMED TIE SINGLE SUPPORT F NECK; UTF1211 RED, 477A, 477R, 477R247 & 2/0 & 3/0 ACSR WITH ALUMINUM ARMOR ROD | 97 | EA | [5 empty] | 0 | [5 empty] | 0
177 | 143481600 | PREFORMED TIE PLASTIC LINE TIE C NECK, TTC1103, 477 37 STD WA | 20 | EA | [5 empty] | 0 | [5 empty] | 0
178 | 143481800 | PREFORMED TIE PLASTIC LINE TIE C NECK TTC1101, 3/0 7 STD &266 19 STD WA | 50 | EA | [5 empty] | 0 | [5 empty] | 0
179 | 143481900 | PREFORMED TIE PLASTIC LINE TIE C NECK, TTC1100, 1/0 WP ALUMINUM CL-55-3 19" IN LENGTH | 20 | EA | [5 empty] | 0 | [5 empty] | 0
180 | 144214500 | DEAD END FEED THROUGH, WEDGE TYPE, #4 THROUGH 4/0 AL OR ACSR (6/1), TOP OPENING | 66 | EA | [5 empty] | 0 | [5 empty] | 0
181 | 152164000 | UG BRACKET TERMINATOR 3P "FIBERGLASS" ONLY 54 IN WIDE W/ 24 IN CENTER ARM, SPACER BARS TO BE A MINIMUM OF 6" LONG, WITH BOLTS | 3 | EA | [5 empty] | 0 | [5 empty] | 0
182 | 152814100 | UG TERMINATOR KIT 4/0-15 KV FOR 220 MIL CABLE ONLY.(INCLUDES PIN TERMINAL, PARALLEL GROOVE CONNECTOR, & BRACKET) | 10 | EA | [5 empty] | 0 | [5 empty] | 0
183 | 154722500 | UG U GUARD LEADER GUARD FOR 2 - 2 1/2" CONDUIT | 7 | EA | [5 empty] | 0 | [5 empty] | 0
184 | 154735500 | UG U GUARD 3 OR 3 1/2 IN X 10' PLASTIC/FIBERGLASS, GRAY | 10 | EA | [5 empty] | 0 | [5 empty] | 0
185 | 154810000 | UG U GUARD 1 OR 1 1/2 IN X 10' PLASTIC/FIBERGLASS, GRAY | 374 | EA | [5 empty] | 0 | [5 empty] | 0
186 | 183117000 | BRACKET STREET LIGHT 1 1/4 IN X 4 FT, UPSWEEP, STEEL, GALVANIZED | 6 | EA | [5 empty] | 0 | [5 empty] | 0
187 | 183440000 | LIGHT LUMINAIRE LED05 COBRA HEAD, 47W LED, 120V MULTI-TAP ROUND DISTRIBUTION, 70 CRI @ 4000K, PHOTO EYE RECEPTACLE, GRAY COLOR ONE PIECE FLAT LENS TOOL-LESS ENTRY | 3 | EA | [5 empty] | 0 | [5 empty] | 0
188 | 183450000 | LIGHT LUMINAIRE LED20FLOOD, 199W LED, 120V MULTI-TAP WIDE FLOOD DISTRIBUTION, 70 CRI - 4000K, PHOTO EYE RECEPTACLE, GRAY COLOR ONE PIECE FLAT LENS TOOL-LESS ENTRY 10' 3C-14 CORD | 6 | EA | [5 empty] | 0 | [5 empty] | 0
| Zone | OTP Destinations - Origin: TBD | Truck Load Freight Rate
| Area 1 | Jamestown, Wahpeton, Lisbon, Casselton, ND
| Area 2 | Devils Lake, Rolla, Langdon, ND
| Area 3 | Rugby, Garrison, Harvey, Bottineau, ND